Experiment of May 27, 2026

Topology

Parameters

| Variable | Value | Description |
| --- | --- | --- |
| Tp | 500 ms, 1 s, 1.5 s | duration of pulses |
| mTart | 0.4518 g 0.4541 g 14_Oct_2025 | mass of Tartrazine for the dye solution |
| VH2O | 10 mL | Volume of water for the dye solution. |
|  | 7.4 cm | Length of the hydraulic resistor of 100um diameter connected to the supply chain |
|  | 8.5 cm | Length of the hydraulic resistor of 65 um diameter (black cable) connected to the input gate. |
|  | 16.8 cm | Outlet pipe, circular cross-shape |
|  | 8.3 cm | Gate outlet |